Notes:  Example entries are shown in the table below to help you properly complete this form.

| Site Number | Customer Name and Physical Address | Year Built | Plumbing Materials in Structure | Lead Service Line (LSL)? Yes / No | Tier 1, 2, 3 or Other | Justification for designation of Tier 1, Tier 2, Tier 3 or Other | Date Site Added (A) / Deleted (D) | Comments Explaining Change |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Examples for Community Water Systems: |  |  |  |  |  |  |  |  |
| 001 | 120 Maple Lane, Anytown, MS | 1985 | Copper pipe with lead solder | Yes | 1 | Lead solder confirmed by swab test; LSL confirmed by excavation | 3/9/16 (A) | Added to replace Location 024; LSL discovered |
| 024 | 241 Lakeside Blvd, Anytown, MS | 1984 | Copper pipe | No | 1 | Built in 1984 with copper pipe | 3/7/16 (D) | House demolished in Feb. 2016 |
| Examples for Non-transient non-community Systems: |  |  |  |  |  |  |  |  |
| 001 | Breakroom in Main Building | 1984 | Copper pipe with lead solder | No | Tier 1 | Pipes are joined with lead solder | 5/3/93 (A) | Added at LCR inception |
| 005 | Restroom in New Wing | 1988 | PVC pipe | No | Other | Built after 1985 with plastic pipe | 8/7/02 (A) | Added due to facility expansion |

| Location Code | Physical Address (CWS) or Physical Location (NTNC) | Year Built | Plumbing Materials in Structure | Lead Service Line (LSL)? Yes / No | Tier 1, 2, 3 or Other | Justification for designation of Tier 1, Tier 2, Tier 3 or Other | Date Site Added (A) / Deleted (D) | Comments Explaining Change |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Location Code | Physical Address (CWS) or Physical Location (NTNC) | Year Built | Plumbing Materials in Structure | Lead Service Line (LSL)? Yes / No | Tier 1, 2, 3 or Other | Justification for designation of Tier 1, Tier 2, Tier 3 or Other | Date Site Added (A) / Deleted (D) | Comments Explaining Change |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |